FAIR Challenges - Cover
FAIR Commissioning & Control:
Status and Outlook until 2025
Ralph J. Steinhagen
(FC2-PL, 2.14.17 & 2.14.10.10)
FAIR Experiment and Accelerators Workshop
December 14th, 2018, Darmstadtium, Darmstadt, Germany
UK
Sweden
Slovenia
Finland
Russia
France
Germany
India
Poland
Romania
[Speaker Notes: Thanks for the introduction and thanks to the organisers for the invitation and the opportunity to present some of the beam dynamics, instrumentation and control highlights related to FAIR.]

---
Overview
- Main aim of this talk:
  - Setting the Stage
    - Boundary Constraints & Challenges
    - Primary FC2-Strategy
  - Update on Commissioning & Controls Activities
    - Boundary Constraints & Challenges
  - Brief update on FAIR Control Centre Activities
- references & previous talks (strategies & concepts still valid)
  - HIC4FAIR’15 (Hamburg):
    - “Options for Parallel Operation” → link
  - HIC4FAIR’16 (Rheingau):
    - “FAIR Commissioning & Control WG - Status & Strategy Update” → link
    - “Machine Experiment Interface - 2nd Iteration” → link
  - Special FC2WG & FCC Projectgroup Info-Meeting’17
    - “FCC – FAIR Control Centre -- Concepts, Requirements & Next Steps” → link
    - K. Berkl: “Neubau - FAIR Control Centre – FCC” → link
  - MAC'18 - Machine Advisory Committee: “FAIR Commissioning & Control WG Status” → link
  - … more documentation (Google: ‘FC2WG’): FC2-WG Homepage, Presentations & Minutes

---
Setting the Scene….
GSI → FAIR Transition in 2018, 2022 → 2025 (SIS100)
→ consequences for the accelerator facility
experiments’ requirements
Super-FRS
& dedicated new experimental
storage rings: CRYRING, CR, HESR
higher rare-isotope beam rates
higher primary beam intensities
higher rare-isotope beam selectivity
antiprotons physics	(N.B. 109 – 1010 p on internal H0 target (PANDA))
→ control of highest proton and (unprecedented) high ion intensities
machine protection & machine activation
XHV vacuum ↔ min. partially-charged ion charge state changes
→ facility operational & overall complexity
… implicit: maintaining facilities’
flexibility: serve 5-7 exp. in parallel
availability: similar beam-on-target efficiency as before
2018
higher energies
→ (Bρ)=100 Tm
higher primary beam intensities
SIS18 → SIS100 ‘booster-mode’
(3 Hz accumulation, minimise time at low E)
new sources
[Speaker Notes: The initial modularised start version is targeted to be commissioned and ready for physics by 2020. FAIR will extend and supersede the existing GSI accelerator facility which consists of the UNILAC – a general purpose linear accelerator, the SIS-18 synchrotron which will become the booster synchrotron for FAIR, the FRS Fragment Separator, and the Experimental Storage Ring ESR. Many of the FAIR experiments are either fixed-target experiments or experiments that are performed directly inside the storage ring. The SIS100 machine will become the new work-horse of FAIR. It's about 1 km long, a fast-ramping and super-conducting synchrotron that accumulates ions and protons from SIS18 and accelerates them up to a rigidity of about 100 Tesla-Meter. It has a six-fold symmetry, with most of the six long-straight sections being filled up by RF acceleration, bunch compression and bunch rotation systems, or devices related to injection and extraction such as kickers, electro-static and magnetic septa. Most of the SIS18 and SIS100 extraction options are tailored to either: * fast extraction or resonant third-order resonance extraction. We plan to using primarily the knock-out-exciter-based technique that continuously blows-up the beam emittance and pushes particles out of the stable phase-space separatrix.]

---
FAIR Operational Challenge
Transition from 3 → 8½ (11+) accelerator(-like) Machines
p-Linac
SIS 18
SIS100
SIS 300
UNILAC
EH
EX
FRS
APPA
p-bar
SFRS
CBM
existing:
3 Ion-Sources
1 LINAC
1 synchrotron + 1 storage ring
13/7 transfer-lines (MEBT / HEBT)
3 experimental areas
ESR
CR
NESR
Cry-
Ring
HESR
(PANDA)
FLAIR
new:
1 proton source + linac
4 synchrotrons & storage rings
18 (26) transfer-lines
4 (5) experimental areas
MSV 0-3
MSV 4-6

---
Accelerator Experience & Efficiency
1995-2016: U. Scheeler, S. Reimann, P. Schütt et al.
constant
~ 75 ± 5 %
long-running “static”
experiments
Many || experiments
re-configuration ~ 1-2 weeks
→ FAIR base-line
*
Based on: U. Scheeler, S. Reimann, P. Schütt et al., “Accelerator Operation Report”, GSI Annual Scientific Reports 1992 – 2015 + 2016 (D. Severin)
https://www.gsi.de/en/work/research/library_documentation/gsi_scientific_reports.htm
N.B. ion source exchanges are factored out from UNILAC & SIS18 data (~ constant overhead)
Availability: experiments + detector tests + machine development + beam to down-stream accelerators;
Down-time: unscheduled down-time + standby; Operation: accelerator setup + re-tuning
* 2018 operation limitations:
only ½ UNILAC (w/o A3 & A4)
only 1 element in SIS18
Therapy Operation
(different accounting)

---
Accelerator Experience & Efficiency
or: .. how to move/transform accelerator operation from 3 (GSI) → 9 (FAIR) machines
bottom line (1st order):
an ‘average’ GSI/FAIR experiment lasts about 5 days
FAIR will accommodate about 5-6 parallel experiments
→ expect:
setup of new beam-production-chain (BPC) about once per day
longer BPCs (↔ number of sequential acc.) → larger complexity

---
FAIR Challenges & Constraints
… SIS18 Operation Experience & Efficiency
Beam-on-Target figure of merit (FoM) of ~75% → FAIR-BoT (efficiency εFAIR):
today
+ new operational challenges:
operating beyond present beam parameter envelope, x10-100 higher intensities, x10 higher energies → machine protection & losses/activation become an issue
“… have to improve!”

---
Setting the Scene….
- FAIR ~4 x the size of existing GSI facility
  - non-linear operational complexity increase O(n2) → O(n5)
  - efficiency scalling εFAIR = εUNILAC·εSIS18·εSIS100·εSuper-FRS·εCR·εHESR· ...
- parallel operation of 5-7 distributed experiments
  - lasting typically only 4-5 days, few long-runners
  - large potential for cross-talk between users especially while setting-up
  - world-wide unique requirement: facility and key beam parameters reconfigured on a daily basis
    - energy, ion species, intensity, extraction type/length, …
- new challenges w.r.t. GSI:
  - operating beyond present beam parameter envelope, x10-100 higher intensities, x10 higher energies → machine protection & losses/activation become an important issue
  - high-intensity and higher-order feed-down effects require machine and beam parameter control well below the sub-percent level →beyond feed‑forward‑only (open-loop) modelling and machine reproducibility
  - need to operate FAIR with reduced skeleton crew consisting of only ~5‑6 operators (nights & weekends)
    - minimise putting unnecessary stress on crews ↔ ergonomics, human-centric design, (semi-)automation (this talk)

---
Product Lifecycle: ‘Power-of-10 Law’
also ‘lean principle’
image courtesy
Andrea Apollonio, CERN
The earlier constraints are included in the design, the more effective the resulting measures
- Drives FC2-strategy:
  - Continuous improvement → right processes to produce right results & for getting it right the first time
    - commissioning procedures as evolving operation and commissioning standard
    - system integration: determine of what, how and when is needed
  - Prevention of inefficiencies, inconsistencies & wastes by design → 'poka-yoke'/'error proofing' principle

---
FAIR Commissioning & Control Strategy since 2015
- Hardware/Sub-Component into System Integration into one coherent FAIR Commissioning, Operation and Controls Concept
  - devices/functions specified by the MCs & SPL
  - priorities on first commonalities, controls prerequisites, and then high-level (machine) specifics
    - SPL, MCs, experiment and management consensus and personnel resource driven & required
  - vertical and lateral integration into the control system & operation environment → verified during Hardware Commssioning (HWC), ‘Dry-Runs’ and Beam Commssioning (BC)
    - requires input and active participation by both equipment and accelerator experts
    - processes driven by ‘commissioning procedures’, functional requirements, consise interface description between different equipment groups, accelerator experts and SPLs/MCs
- FAIR (Parallel) Operation Concepts and Requirements
  - Feed-Forward ↔ model based control:
    - LSA settings supply, quasi-periodic/static operation, beam-production-chain concept, ...
  - (Semi-)Automation
    - Sequencer (Tesing, HWC & BC), Beam-Transmission Monitoring, Multi-Turn Injection-, Slow-Extraction Optimisations, …
  - Beam-Based Feedbacks (cycle-to-cycle)
    - trajectory, orbit, Q/Q’, slow-extraction spill, optics, …
- FAIR Control Centre: Physical Control Room Ergonomics & Human-centred Design
  - 24h/7 FAIR Operation ist one of the most challenging tasks
  - Main-Control-Room should support and not ‘get in the way’ of operation

---
FAIR Commissioning & Control WG
more details: http://fair-wiki.gsi.de/FC2WG/
FAIR Commissioning & Control Working Group
platform to identify, coordinate, and work-out FAIR commissioning and operation
open to all who can participate and contribute to these subjects!
focus in 2015
focus in 2016
focus in 2017

---
FAIR Commissioning Procedure I/II
- Develop a (initial/re-)commissioning and operation strategy:
  - memorandum of understanding between stake-holders (SPLs, MCs, AP, BI, CO, RF, ...)
    - define when, where and how the individual accelerator systems should fit in
  - identify and define missing procedures, equipment and tools, e.g.:
    - define, check the need or priority of applications vs. 'use cases'
    - define, check integration and interface between specific equipment and CO/OP environment
  - focus first on commonalities across then specifics within individual accelerators
    - MPLs/MCs define pace & resources of how fast to achieve the above
  - dissemination/knowledge transfer from groups that constructed and performed the initial HW commissioning to the long-term operation
    - training of operational crews (physics, operation, tools, ...)
  - scheduling tool for technical stops to follow-up possible issues found
*Procedure aims not only at the initial first but also subsequent re-commissioning e.g. after (long) shut-downs, mode of operation changes and/or regular operation

---
FAIR Commissioning Procedure II/II
https://fair-wiki.gsi.de/FC2WG/HardwareCommissioning/
Distinguish two forms of 'commissioning':
  1. Hardware Commissioning (HWC → SAT A)
    - conformity checks of the physical with contractual design targets,
    - || commissioning of individual systems & tasks ↔ MPLs/equipment group responsibility
  1. Commissioning with Beam (BC → “SAT B” … )
    - Commissioning of beam-dependent equipment
    - Focus on tracking beam progress through the along the beam production chain (BPC)
      - threading, injection, capture, acceleration and extraction
    - + 'Dry-Runs': pre-checks at the end of HWC in view of beam operation:
      - Checks conformity of system's controls integration and readiness for Commissioning with Beam
      - check as much control/system functionality without beam as possible
      - Machine ist put into a state assuming that beam could be injected into the ring/segment
        - unavailable devices/systems are at first ignored, noted down, and followed-up at a defined later stage
Terminology:
Dry-runs: a rehearsal of the accelerator performance/function, starting typically six month before the targeted real BC
needs to (partially) repeated after shut-down or longer technical stop with substantial modifications
initial frequency: 1-2 days every month
frequency increased depending on the outcome of the initial dry-run tests
Machine-Checkout: intense accelerator performance tests (e.g. machine patrols, magnet/PC heat runs, etc.), typically two weeks before BC
needs to repeated after every shut-down or longer technical stop
repeated also on the long-term during routine operation of existing accelerators (already existing procedures/usus for existing machines)

---
Commissioning without & with Beam
https://fair-wiki.gsi.de/FC2WG/HardwareCommissioning/
https://fair-wiki.gsi.de/FC2WG/BeamCommissioning
N.B. not to scale
Split Beam Commissioning into three stages:
  1. Pilot beams/”easily available” ions (e.g. Ar)
    - basic checks: threading, injection, capture, cool, convert, acceleration/decelerate, stripping & extraction
    - always done with 'safe' ie. low-intensity/brightness beam
      - Ions: simpler optics, beam dynamics → Protons: transition crossing
  1. Intensity ramp-up & special systems
    - achieving and maintaining of nominal transmission and beam losses
    - commissioning of e.g. e-cooler, slow extraction, transverse fast feedbacks
    - commissioning and validation of machine protection & interlock systems
    - Possibly unsafe operations always preceded by checks with safe beam
  1. Production operation with nominal intensities	(N.B. first time counted as 'commissioning' or 'assisted operation' → later: 'regular operation')
    - push physics and beam parameter performance (emittance, momentum spread, ...)
    - identify and improve upon bottlenecks impacting FAIR's 'figure-of-merit
    - make fast setup and switch-over between different beam production chains routine
commissioning details
& ‘what-if-scenarios’
planned in 2.14.17.1
FAIR-’Day 0’
First
“Splash Events”
in 2025

---
First Ingredient: Quasi-Periodic Operation I/II
Operation/Control Paradigm
Some important OP boundary conditions:
  1. Compared to GSI, FAIR facility size and complexity increases roughly by a factor 4
  2. Expect some improvement but 'Operator' & 'System Expert' will likely remain a scarce resource (N.B. ~5‑6 operators (nights & weekend) ↔ pool of ~35 operators)
One strategy option: 'One Operator per Accelerator Domain' vs. 'One Operator per Experiment':
Q1
UNILAC
SIS18
SIS100
SuperFRS
CR
CR
Q2
pLinac
SIS18
SIS100
p-Target
CR
HESR
UNILAC
SIS18
SIS100
Q3
CBM
UNILAC
SIS18
SIS100
Q4
APPA
UNILAC
SIS18
Qn
ESR etc.
Operator #1
Operator #2
Operator #3
Operator #4
Operator #1
Operator #2
Operator #3
Operator #4

---
Beam Production Chain & Patterns
Timing System und Data Indexing
- Beam-Production-Chain:
  - organisational structure to manage parallel operation and beam transfer through FAIR accelerator facility
  - defines sequence and parameters of beam line from the ion-source up to an experimental cave (e.g. APPA, CBM, SuperFRS, ...)
  - definition of target beam parameters (set values): isotope, energy, charge, peak intensity, slow/fast extraction, …
- Beam Pattern:
  - grouping of beam production-chains that are executed periodically
  - can be changed of pattern within few minutes (target, requires automation for beam-based retuning)
→ decouple beam request from magnetic cycle
  - now: dynamic user beam request → magnetic cycle → beam injection
    - random magnetic cycle ↔ non-reproducible hysteresis
  - FAIR: pre-programmed magnetic cycle + dynamic user beam request → beam injection
    - optimises magnetic pattern ↔ reproducible hysteresis
    - N.B. beam extraction still programmed ad lib by experiments
- Both all Data-Acquisition (DAQs) and Archiving/Post-Mortem System follow and implement this concept
valid FAIR selector examples:
“FAIR.SELECTOR.ALL” → listen to everything
"FAIR.SELECTOR.C=1” → selects a given BPC
“FAIR.SELECTOR.S=12" → selects a sequence within a BPC (similar to CERN’s “Cycle” concept in a given accelerator)
"FAIR.SELECTOR.P=34” → selects a specific process in a BPC (ie. ‘injection’, ‘RF capture’, ‘ramp’, ‘extraction’, ...)
courtesy D. Ondreka
Chains
SIS18
SIS100
HESR
SIS18
SIS100
HESR
Pattern
SIS18
SIS100
HESR

---
First Ingredient: Quasi-Periodic Operation II/II
Beam-Production-Chains
Periodic beam patterns, dominated by one main experiment	– change every two weeks, some run for 2-3 days only:
FAIR Operational Challenge:
presently: 2 shifts for setup of 2 accelerators→ FAIR target: 1-2 shift(s) for setting up 5 accelerators + tighter loss control
Main strategy/recipe to optimise 'beam-on-target':
quasi-periodic cycle operation: limit major pattern changes by construction ↔ beam schedule planning (tools)
minimise overhead of context switches → smart tools, procedures & semi-automation, e.g. beam-based feedbacks, sequencer, …
courtesy D. Ondreka
SIS18
SIS100
Unilac
CBM + RIB ext. target (U73+) + AP (LE)
SIS18
SIS100
Unilac
ESR
RIB ext. target (U28+) + ESR
AP + RIB ext. target (U28+) + Biomat
SIS18
SIS100
HESR
Unilac
SIS18
SIS100
Unilac
ESR
RIB ext. target (U28+) + ESR
SIS18
SIS100
Unilac
CBM + RIB ext. target (U73+) + AP (LE)
AP + RIB ext. target (U28+) + Biomat
SIS18
SIS100
HESR
Unilac
[Speaker Notes: To give you a flavour of some of the parallel operation scenarios Depending on the individual experiment requirements we may need to switch between these patterns several times per day. We presently operate the combination of UNILAC and SIS18 with a beam-on-target figure of about 70% which is acceptable for such a small facility. With many of the experiments moving from SIS18 to SIS100 we need to improve this to maintain the same efficiency. Thus our main strategy for the time being is to 1. minimise the number of changes by design through grouping the right experiments already during the accelerator scheduling phase using smart tools, and to 2. minimise the overhead and speed at which these pattern changes can be performed. Here the use of smart tools, procedures & semi-automation, e.g. beam-based feedbacks and sequencer will hopefully the key to success.]

---
Second Ingredient: (Semi-)Automation
and Beam-Based Feedbacks at FAIR
… for efficient operation and commissioning → optimise routine task so that operation crew talents are utilised/focused on more important tasks that cannot be automated
Focus priorities on systems that have a big impact on setup, tracking and optimisation:
  - ‘biggest bang-for-the buck’ or ‘low-hanging-fruits’*:
    - ie. systems that are best understood, require least effort/know-how to integrate/implement
  - operationally critical or hard to achieve by-hand:
    - e.g. slow-extraction spill control, slow trajectory/focus drifts of beam-on-target
  - mitigating drifts that are driven by feed-down effects due to higher-order parameter tuning: e.g. orbit, tune
  - ...
Examples:
- beam-transmission-monitoring and other actual-vs-reference monitoring systems → identify, localise and fix failures/near‑misses as early as possible
- semi-automated multi-turn/optics/slow-extraction monitoring/correction/… setup tools → improve facility turn-around and setup times
- classic beam-based feedbacks on trajectory, orbit, tune, chromaticity, etc. → monitor and maintain tight parameter tolerances
- Sequencer taks – automation of tasks not yet covered by other routine tools → big time saver for large‑scale equipment acceptance/integration tests, recommissioning, or dry-runs
  - N.B. thousands of FAIR devices & machine proction systems that need to be periodically retested/validated

---
Beam-based Cycle-to-Cycle feedbacks
Generic Beam Control (focus on use-case)
1. Transmission Monitoring System
2. Orbit Control
Trajectory Control (threading, inj./extr., targets)
Q/Q'(') Diagnostics & Control
TL&Ring Optics Measurement + Control (LOCO, AC-dipole techniques etc.,)
1. RF Capture and (later) RF gymnastics
2. Longitudinal Emittance Measurement
3. Transverse emittance measurement
4. Transverse and longitudinal feedbacks
Machine-specific Beam-Based Systems:
- SIS18: multi-turn-Injection (N.B. highly non-trivial, complex subject), Slow-Extraction (K.O. exciter, spill‑structure, …)
- SIS100: Slow-Extraction (K.O. exciter, spill‑structure, …), RF Bunch Merging and Compression
- ESR, HESR & CR: Stochastic cooling, Schottky diagnostics, …, tbd.
Generic:
- Remote DAQ of Analog Signals	(strong impact on HKR migration/operation!)
- Facility-wide fixed-displays, facility & Machine Status (“Page One”)
- context-based monitoring of controls and accelerator Infrastructure,
Bread-and-Butter
systems for operation

---
Some notes on implementation
- Real-World challenges of FB & (semi-) automation: (hint: usually control theory or beam physic isn’t the problem)
  - not necessarily speed (ie. kHz → GHz range) – second-scale feedbacks or tools are often already quite sufficient for >90% of the problems
  - Computers are better than humans for repetitive/quantitative tasks, however: FBs are essentially only as good as
    - beam- or machine-parameter measurements they are based-upon
    - integration into the controls & operation environment and exception handling
      - interfaces, interfaces, interfaces….
      - long-term maintenance, upgrades, adaptations, ...
    - developer skills that needs to cover multiple domains: acc. HW, BI, RF, Controls, machine modelling, beam physics, …
    - overall strength depends on the reliability of the weakest link in the chain

---
Cycle-to-Cycle Orbit-FB Proof-of-Concept
B. Schlei, H. Liebermann, R. Steinhagen
H
Orbit-FB 'off'
Orbit-FB 'on'
(deselected faulty BPM:
GS07DX)
V
- some workarounds needed, but overall success and results look promising
  - need to follow-up: reliability, performance issues related to CO & BI + detailed integration before being put into regular operation
  - N.B. remaining horizontal oscillation due to uncorrected Δp/p mismatch → radial-loop/Energy-FB
position [mm]
time

---
Cycle-to-Cycle Macro-Spill-FB Proof-of-Concept
R. Steinhagen, H. Liebermann
reference
dN/dt spill rate
- some workarounds needed, but overall success and results look promising
  - need to follow-up: K.O. exciter power-limitation handling (easily for >10 Tm operation)
    - Alternative: FB using fast extraction quadrupole or main-quads
  - Desirable: direct FB signal from experimental detectors
animated GIF - link
Fill-to-Fill
FB on dN/dt
(DCCT-based)

---
Higher-Order Beam Parameter Stability
Example: LHC Tune Feedback Operation
- Tune-FB driving and accelerating early commissioning in 2009-2011
  - tunes kept stable to better than 10-3 for most part of the ramp and squeeze
- even though perturbations were unrelated to quads, feedback helped mitigating these feed-down effects while allowing OP crews to work on other more pressing issues … (N.B. BBQ instrumentation was key-ingredient to success)
reconstructed tunes with FF only
actual tunes
reconstructed bare tunes

---
Higher-Order Beam Parameter Stability
Example: Feedback Integration and Operation at LHC
- Most accelerator facilities: stability of actual observable became secondary
- trims become de-facto standard to assess the FB and machine performance and to improve machine modelling (done off-line)
Orbit-FB &
Radial-Loop
Trims (μrad)
Tune-FB trims
injection
flat-top
ramp
Q'(t)-FB trims
Energy (TeV)
Q'(t) not used on a day-to-day basis
β*-squeeze

---
Digitization of Analog Signals at FAIR
https://edms.cern.ch/document/1823376/
traditional/old concept (underlying assumption: scopes/digitizers are expensive, RF switches are cheap)
targeted concept (underlying assumption: scopes/digitizers are cheap, RF switches are expensive)
~10 €/m
(short)
250-500 €/ch.
2-3 k€/ch.
200 -1000 €/ch.
~ 200 €/ch.
~10 €/m
(long)
device #1
Front-End
(FESA, C++)
device #1
digitizer
device #2
device #2
digitizer
~ 0.5 k€/ch.
...
...
Front-End
(FESA, C++)
device #(n)
device #(n)
ethernet
~ 10 MB/s
digitizer
Front-End
(FESA, C++)
2-3 k€/ch.
device #(n+1)
Front-End
(FESA, C++)
device #(n+1)
digitizer
...
...
Controls/
Operation
device #(n+m)
Front-End
(FESA, C++)
device #(n+m)
digitizer
start deployment ≥2018 (SIS18), crucial for:
migration to new FAIR Control Centre (FCC),
optimisation of commissioning & operation
automated tracking/isolation of faults (↔ post-mortem)
less-biased performance indicator
link: more details
on-demand measurement
(selected signals, error-case, …)
con:
high-reconfiguration overhead (manual)
limited test-coverage, trending
permanent monitoring
(error-case, trending, interlocks, beam-based feedbacks, …)
Controls/
Operation
RF Switch
BLL: Brain-Locked-Loop
Not routinely connected
(only error case)
flexible
grouping option
feedbacks

---
Digitization of Analog Signals at FAIR
use-case
In a control room not so far far away...
Digitizer et. al are key to monitor all critical devices that may act upon the beam!
continuous actual-vs-reference monitoring: automatically isolate/ localise faults for rare events
complimented by Archiving System → tracking of (especially) rare events.

---
Digitization of Analog Signals at FAIR
Example: SIS18 Machine Status

---
FAIR Archiving System
https://edms.cern.ch/document/1176039/
… collect and store all pertinent accelerator data centrally to facilitate the analysis and tracking of the accelerator performance as well as its proper function.
- Combined Archiving and Post-Mortem storage concepts
- Aim at storing maximum reasonable amount of data
  - facilitates data mining (performance trends, rare failures, …)
  - key to understanding and improving accelerator performance
  - also: use feedback action to improve machine model (data mining)!
Post-Mortem
Archiving
N.B. importance: quantitative accelerator performance and bug/fault-tracking indicators

---
Beam Transmission Monitoring (BTM)
https://edms.cern.ch/document/1823362/
transmission
beam instabilities, aperture constraints, slow beam parameter drifts
→
activation & machine protection
dynamic vacuum, ε-blow-up/tails,
slow-extraction, ...
→
cryo- & beam-halo collimators,
rad-hard magnets, extra shielding, ...
avoidable losses
(ALARA: should minimise before MP & Activation limits kick in)
less-avoidable losses
(may need to accept a given amount)
§§ Radiation Permit – limits on total dose per year (facility & external)
color white {{ dN_{collimator}(t) } over { dt }}
controlled losses
Fast current transformer (FCT)
DC current transformer (DCCT)
DCCT
/FCT
counter
I_{source}(t) = { dN_{source}(t)} over { dt }
Ion-Source
I_{target}(t) = { dN_{target}(t) } over { dt }
Experiment
primary (secondary)
ions-on-target/s
{ dN_{loss}(t) } over { dt }
un-controlled losses
online dosimetry (abs. reference)

---
FCC Fixed-Display & Workstation Layout
Information Density Hierarchy (↔ BTM Concept)
Information Density/Level of Detail
courtesy Achim Bloch-Späth
courtesy Achim Bloch-Späth

---
Sequencer Framework
Semi-automated Tests for HW and Beam Commissioning
 HW and beam commissioning require efficient tools for testing
- perform initial and acceptance tests, early detection of non-conformities and faults
- perform QA and regular re-validation tests
- considering size and complexity of FAIR, and limited resources:
  efficient and reliable execution and documentation of tests
 → Development of a Sequencer framework, as a core part of the FAIR control system to aid semi-automated testing
Sequencer architecture conceptually divided into:
- middle-tier sequencer service (run sequences,
  generate automated reports)
- the sequences with a subset of tasks (testing steps)
- graphical user interface (GUI) program
Operational experience so far:
- was tested and used already since Dry-runs in 2017
- establish process of writing Sequencer tasks parallel
  to development (in progress)
Sequencer GUI impression

---
Status

---
Controls & FC2WG Topics
– more than “Control System” & Data Supply
primary aim: provide tools, extensions to, and integration of the existing basic technical system to ensure a swift, efficient commissioning and control of the accelerator facility
- Facility & Interface Analysis
  - Procedures: Hardware Commissioning (HWC), HWC-'Machine Check Out', Beam Commissioning (BC), BC-Stage A (pilot beams), BC-Stage B (intensity ramp-up), BC-Stage C (nominal/production operation) Beam parameters, FAIR performance model, optimisation, Accelerator & Beam Modes
- Beam Instrumentation & Diagnostics – System Integration (into operation and controls environment)
  - Intensity (DCCTs) & beam loss (BLMs) → Beam Transmission Monitoring System (BTM), trajectory & orbit (BPMs), Q/Q', optics (LOCO & phase-advance), longitudinal & transverse emittance (FCTs, WCM, screens, IPM, etc.), Δp/p, long. bunch shape (FCTs, Tomography), abort gap monitoring, ...
- Accelerator Hardware – System Integration (into operation and controls environment)
  - Power converter, magnets, magnet model, RF, injection/extraction kicker, tune kicker/AC-dipole, beam dump, collimation/absorbers, cryogenics, vacuum, radiation monitoring, k-modulation, technical infrastructure (power, cooling/ventilation), machine-experiment interfaces
- Control System
  - Archiving system, acquisition/digitization of analog signal , test-beds, timing, bunch-to-bucket transfer, cyber security, role-based-access, middleware, real-time & cycle-to-cycle feedbacks, daemons
- Components
  - post-mortem, management of critical settings (safe-beam settings), machine protection, interlocks, beam quality checks, daemons, 'facility status display', aperture model, ...
- Applications
  - Sequencer (semi-automated test/commissioning procedures), fixed-displays, ...
  - Beam-Based Applications & GUIs
topic started
topic active
topic not started

---
Control System Architecture Stack
Not exhaustive...
Control System Architecture Stack
Not exhaustive...
Presentation
Tier
Middle Tier
powerful servers
Resource Tier
FESA
???
Standard 3 tier model; distributed OO system
Modular design with well defined interfaces

---
Topics vs. Resources & Staging
R. Bär & R. Steinhagen
topic started
topic active
topic not started
...
BC-Stage B, BC-Stage C, Machine Availability Anlysis, adv. beam parameters optimisation, FAIR performance model, optimisation, Fast Orbit‑FB (SIS-100, BI)
add. Beam‑Based Applications, Machine Specifics Applications, Beam Commissioning Procedure Preperation (31)
Facility & Interface Analysis Hardware Commissioning Procedures (HWC), HWC-'Machine Check Out', Beam Commissioning (BC), BC-Stage A (pilot beams), Machine Protection, Machine Availability Tools, Beam Instrumentation & Diagnostics Integration: Integration of Intensity/BLMs into BTM, Digitizer, Monitoring of active acc. Infrastructure, Multiturn Injection Control, Cycle-to-Cycle FBs: Orbit Control, Trajectory Control, Q/Q' Control, Slow Extraction Control (minimum, macro-spill), Optics Measurement & Control, Slow Extraction Control (full), Transversal Emittance Measurement, Longitudinal Emittance Measurement, Beam Quality Monitor, Transverse Feedbacks, Longitudinal Feedbacks, Feedback Application (CRY), Bunch‑to‑Bucket Transfer Control, RF Capture and RF Gymnastics, Machine-Experiment-Interfaces, Sequencer Procedures (equip. & OP)
FC2: 105 person-years (missing)
2025
CO Management (13.4), Retrofitting Project (SIS/ESR/HEBT/FRS, 3.4), CO Design (18.2), FESA (25), Frameworks (35.2), Databases (13.5), Middleware (6.4), Services (12.4): Generic Service Infrastructure, Generic Messaging Service development, Alarm System, Archiving System, Beam-Transmission-Monitoring, Post Mortem, MASP (basic), MASP (full), Timing Director, Request-Processor, Configuration Service, Condition Messages, Gateway UNICOS-CS, OperDB Connector, PotiBoard, Web Development, Applications (CO, 46): MCS Saclay, Sequencer, DeviceControl, EquipState, EquipMonitor, Scan Application, ParamModi Application, Facility Overview, Scheduling, Pattern Creation, Timing Master Control, ProfileGrid Application, Q/Q' & Schottky, MultiParameterBeam, Machine- and Beam-Modes, Role-Based-Access (RBAC), Management-of-Critical Settings (MCS), Inter-App Communications, Generic GUI Components, Generic JavaFX, Generic UI Design Activities, Web Facility Overview ("Page-1"), Web Developments, Fixed Displays, MASP GUI, Beam Requestor GUI, Archiving GUI, Fast Beam Abort, Post Mortem Analysis, Monitoring GUI, IonSource GUI, BTM GUI
ACO:
203 person-years
CO Resource Profile, R. Bär et al.

---
Control System Effort & Cost Comparison
GSI/FAIR ↔ CERN (COCOMO II -based)
GSI/FAIR
CERN
N.B. FTEs are very rough estimates with large error bars for a project of this size… !!
→ in-lack of better tools at least qualitative scaling, relations and order of magnitude seems reasonable
ratio of kSLOCs
ratio of kSLOCs
legacy
systems

---
FAIR Control Centre (FCC)
https://edms.cern.ch/document/1821654/
Requirements & Conceptual Design – primary goals:
provide sufficient room for the operation of the existing and enlarged GSI/FAIR facility
includes control of technical infrastructure, cryogenics, and storage-ring experiments or those tightly interwined with acclerator operation
ergonomics: Main Control Room should not “get in the way of it’s primary function”
establish functional relationships between MCR & ancillary rooms
validate/check w.r.t. FAIR Commissioning & Control concept
validate/check whether input for building planner is feasible and consistent with DIN/ISO norms
Keep within set budget
FCC estimated “ready” for HWC starting 2022 (+ backup option)
Open issues:
OP-readiness (notably UNILAC) to move to new FCC building

---
2018
2019
2020
2022
2021
2023
detailed
design
(LP3)
permits etc.
(Z-Bau, LP4)
detailed
execution
planning
(LP 5)
tendering (LP6+7)
construction (LP8)
SIS100 HWC
… from local control rooms
conceptual
design
~October 2020:
start construction
~November 2022:
FCC MCR
CO Infrastructure
Installation/
commissioning
6m + 6m

---
FAIR Control Centre (FCC)
LPh2/3 concept

---
FAIR Control Centre (FCC)
LPh2/3 concept

---
FAIR Control Centre (FCC)
agn/campus development
planned but delayed implementation
(cost constraints)

---
FAIR Control Centre (FCC)
Architectural View/Context I/II
work in progress: outside facade not finalised yet → user survey pending!!
agn/campus development

---
FAIR Control Centre (FCC)
Architectural View/Context II/II
work in progress: outside facade not finalised yet → user survey pending!!
agn/campus development

---
FCC Main Control Room Floor
… work in progress
primary/regular
Operation
(also night)
+
small experiments
typ. 10 people
|| Machine
Development
(Re-)Commissioning
~3 - 16 people
e.g.
Storage-Ring
Experiments
8 – 16 people

---
FCC Primary-User Concept
Main Control Room – Interior View (100° view angle)

---
FCC Primary-User Concept
Main Control Room – Visitor View #1

---
FAIR Control Centre (FCC)
Mechanical Console and Fixed-Display Pre-Design
cryogenics
technical infrastructure
experiments/
commissioning
experiments/
commissioning
cooling water
electrical/IT outlets
(floor tanks)
David See et al.
fixed-display enclosure/mounting for
primary accelerator operation
fixed-display enclosure/mounting for
Cryogenics/TI + experiments
fixed-display enclosure/mounting for
Cryogenics/TI + experiments
primary accelerator operation

---
Summary
- FAIR ~4x the size of GSI,
  - non-linear operational complexity increase O(n2) → O(n5)
  - 5-7 parallel experiments + typically lasting only 4-5 days → world‑wide unique requirement: reconfigure facility on a daily basis
  - new challenges w.r.t. GSI:
    - x10-100 higher intensities, x10 higher energies → machine protection & losses/activation become an important issue
    - high-intensity and higher-order feed-down effects require machine and beam parameter control on the sub-percent level →beyond static feed‑forward (open-loop) machine modelling and machine reproducibility
    - have to be able to operate FAIR with reduced OP skeleton crew of ~5-6 operators → minimise unnecessary stress on crews
- Beam-Based feedbacks and (semi-)automated setup tools are key ingredient for efficient operation and commissioning → optimise and automise routine task so that OP talents are utilised/focused on more important tasks that cannot be automated
  - actual-vs-reference monitoring system → identify, localise and fix failures/near‑misses as early as possible
  - classic beam-based feedbacks → monitor and maintain tight parameter tolerances
  - semi-automated setup tools → improve facility turn-around and setup times
  - Sequencer to automate tasks not yet covered by other tools → saves on tedious revalidation and conformity checks
- Real-World challenges of feedbacks & (semi-) automation
  - not necessarily speed – FB & tools operating on second-scales already quite sufficient for >90% of the problems
  - Computers are better than humans for repetitive/quantitative tasks but overall strength depends on the reliability of the weakest link in the chain (instrumentation, integration into controls/OPs, developer, ... )

---
Yes we can!
FAIR, can we do it?
Yes, we can!

---
Thank You!

---
Accelerator Controls Commonalties/Differences
GSI/FAIR ↔ CERN
	GSI/FAIR	CERN
vertical/horizontal controls integration:	ACO (alone) bears full responsibility for controls core infrastructure, vertical and horizontal integration / notable exception: BI & partially: Ring-RF	Equip. groups responsible for vertical HW & SW integration / CO responsible for controls core infrastructure and some lateral systems (timing, LSA, Oasis, Alarms, ...) / OP et al. heavily involved in horizontal integration & control room apps development
settings supply (LSA-based)	Beam-Production-Chain, Pattern and flexible Beam-Process- & Timing concepts / → different lab-specific implementations	Super-Cycle, Hypercycle & semi-static Timing concepts / → different lab-specific implementations
control room visualisations/tools:	only few (legacy-type) Java/Swing dependencies / JavaFX as primary workhorse for applications / strong Java/C++ community / very small Python community (↔serious maintenance issues) / evaluating: C++/Qt & WebAssembly	massively invested into Java & Swing (500+ apps) / custom web-based technologies/tools / JavaFX projects now frozen → discontinued / strong Java & Python community / evaluating: Python/Qt & WebAssembly
controls code base	3.2 Million SLOCs / ~10% to be replaced legacy	12 Million SLOCs
application devs outside controls:	only a few CO-type devs outside ACO: 3 BI, 2 SYS, 3 OP (beginner) / ACO: 2 (+1) JavaFX + 2 Java-Swing-only devs / 1 web-based app developer (OP)	est. total: > 100 FTEs (BE-BI, BE-CO, BE-ICS, BE-OP, BE-RF, BE-ABP, ...) / producing the bulk of useful (often rapid-prototyped) tools / second-job of many operators and EICs / nearly all groups have their own SW section with their application developer
experiment client composition:	vast majority running less than a week / require (presently) typically 1-2 days to setup	long-running experiments (weeks … months, ie. @ LHC) / less overhead w.r.t. machine setup vs. beam-on-target
accelerator operation:	GSI: pool of about 20 operator (2-3 Ops/shift) / FAIR: 5-6 acc. Ops/shift + 1-2 Cryo-/TI-Ops/shift / very-low degree of automation: predominantly manual tuning based on analog hardware	pool of about 90+ operators/EICs (+ Cryo/TI Ops) / high degree of automation, beam-based tools, modular system design, …